## תוכנית מידול קטגוריות
| LOD |  | LOD 100 | [5 empty] | LOD 200 | [25 empty] | LOD 300 / 350 | [29 empty] | LOD 400 | [9 empty] | LOD 500
|  |  | LOD 100.0 | [5 empty] | LOD 200.0 | [5 empty] | LOD 200.1 | [9 empty] | LOD 200.2 | [9 empty] | LOD 300.0 | [9 empty] | LOD 300.1 | [9 empty] | LOD 350 | [9 empty] | LOD 400.0 |  |  |  |  | LOD 400.1 |  |  |  |  | LOD 500.0
| קטגורית רוויט | דיסציפלינה | A |  | S | H | P | E | A |  | S | H | P | E | A |  | S |  | H |  | P |  | E |  | A |  | S |  | H |  | P |  | E |  | A |  | S |  | H |  | P |  | E |  | A |  | S |  | H |  | P |  | E |  | A |  | S |  | H |  | P |  | E |  | A | S | H | P | E | A | S | H | P | E | A | S | H | P | E
|  |  | XXX |  | XXX | XXX | XXX | XXX | XXX |  | XXX | XXX | XXX | XXX | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX |  | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
| Grids |  | A | Principal Grids |  |  |  |  | B | Secondary Grids |  |  |  |  | C | [9 empty] | C | [9 empty] | C | [9 empty] | C | [9 empty] | C
| Levels |  | A | Schematic Level |  |  |  |  | B | Concrete Levels |  |  |  |  | C | Ceiling Levels | [8 empty] | C | [9 empty] | C | [9 empty] | C | [9 empty] | C
| Origin |  | A | Default position |  |  |  |  | B | Project Base Point / Survey Point |  |  |  |  | C | Project Base Point / Survey Point | [8 empty] | C | [9 empty] | C | [9 empty] | C | [9 empty] | C
| Air Terminals | [27 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing | [8 empty] | C | Sizing
| Areas | [7 empty] | A | Gross-Rentable Plan |  |  |  |  | A | Gross-Rentable Plan | [8 empty] | A | Gross-Rentable Plan | [8 empty] | A | Gross-Rentable Plan | [8 empty] | A | Gross-Rentable Plan | [8 empty] | A | Gross-Rentable Plan
| Cable Trays | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | B | Type Specification | [8 empty] | B | Type Specification
Casework
| Ceilings | [7 empty] | A | Generic by Type / Height
| Columns | [7 empty] | A | Generic by Type |  |  |  |  | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | C | RAC / RST Integration | [8 empty] | D | Generic Detailing | [8 empty] | E | Specific Detailing
| Communication Devices | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing
| Conduit Fittings | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing
| Conduits | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing
| Curtain Panels | [7 empty] | A | Default System Panel |  |  |  |  | A | Default System Panel | [8 empty] | A | Default System Panel | [8 empty] | A | Default System Panel | [8 empty] | A | Default System Panel | [8 empty] | A | Default System Panel
| Curtain Systems | [7 empty] | A | Grid Definition
| Curtain Wall Mullions | [7 empty] | A | Generic System |  |  |  |  | A | Generic System | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Detailing | [8 empty] | C | Detailing
| Data Devices | [21 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing | [8 empty] | C | Sizing | [8 empty] | C | Sizing
Detail Items
| Doors | [7 empty] | A | Generic System |  |  |  |  | B | Type Identification | [8 empty] | C | Parameter Specifications | [8 empty] | D | Generic Detailing | [8 empty] | E | Specific Detailing | [8 empty] | E | Specific Detailing
| Duct Accessories | [27 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing
| Duct Fittings | [27 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing
| Ducts | [27 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing
| Electrical Equipment | [21 empty] | A | [9 empty] | A | [9 empty] | B | [9 empty] | B | [9 empty] | C
| Electrical Fixtures | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing
| Entourage | [13 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic
| Fire Alarm Devices | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications
| Flex Ducts | [27 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing
| Flex Pipes | [29 empty] | A | Generic by Type | [8 empty] | B | Type Specifications
| Floors |  | A | Generic / Face |  |  |  |  | B | Generic by Type |  |  |  |  | C | Type Specification | B | Generic by Type | [6 empty] | C | Type Specification | D | Sizing | [6 empty] | E | RAC / RST Integration | E | RAC / RST Integration | [6 empty] | F | Generic Detailing | F | Generic Detailing | [6 empty] | G | Specific Detailing | G | Specific Detailing
| Furniture | [13 empty] | A | Generic by Type | [18 empty] | B | Type Specifications | [18 empty] | C | Detailing
| Furniture Systems | [13 empty] | A | Generic by Type | [18 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Detailing
Generic Models
| HVAC Zones | [17 empty] | A | Generic by Type |  |  | A | Generic by Type |  |  |  |  | B | Type Specifications |  |  | A | Generic by Type |  |  |  |  | B | Type Specifications |  |  | B | Type Specifications |  |  |  |  | B | Type Specifications |  |  | B | Type Specifications |  |  |  |  | B | Type Specifications |  |  | B | Type Specifications
| Lighting Devices | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing
| Lighting Fixtures | [21 empty] | A | [9 empty] | A | [9 empty] | B | [9 empty] | B | [9 empty] | C
| Mass |  | B | Generic
| Mechanical Equipment | [17 empty] | A | Generic by Type | A | Generic by Type | [6 empty] | A | Generic by Type | A | Generic by Type | [6 empty] | B | Type Specifications | B | Type Specifications | [6 empty] | C | Sizing | C | Sizing | [6 empty] | C | Sizing | C | Sizing
| Nurse Call Devices | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing | [8 empty] | C | Sizing
| Parking | [13 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | B | Detailing | [8 empty] | B | Detailing | [8 empty] | B | Detailing
| Pipe Accessories | [29 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing | [8 empty] | C | Sizing
| Pipe Fittings | [29 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing | [8 empty] | C | Sizing
| Pipes | [29 empty] | A | Generic by Type | [8 empty] | B | Type Specifications | [8 empty] | C | Sizing | [8 empty] | C | Sizing
| Planting | [13 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | B | Detailing
| Plumbing Fixtures | [13 empty] | A | Generic by Type | [8 empty] | A | Generic by Type |  |  |  |  | A | Generic by Type |  |  | B | Type Specifications |  |  |  |  | B | Type Specifications |  |  | B | Type Specifications |  |  |  |  | B | Type Specifications |  |  | C | Size / Finishing / Detailing |  |  |  |  | C | Size / Finishing / Detailing
| Railings | [13 empty] | A | Low Detail by Type | [8 empty] | A | Low Detail by Type | [8 empty] | B | Type Specifications | [8 empty] | B | Type Specifications | [8 empty] | C | Detailing
| Ramps | [7 empty] | A | Generic by Type |  |  |  |  | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | C | Sizing | [8 empty] | D | RAC / RST Integration | [8 empty] | E | Generic Detailing
| Roofs |  | A | Generic / Face |  |  |  |  | B | Generic by Type |  |  |  |  | C | Type Specification | B | Generic by Type | [6 empty] | D | Sizing | D | Sizing | [6 empty] | E | RAC / RST Integration | E | RAC / RST Integration | [6 empty] | E | RAC / RST Integration | E | RAC / RST Integration | [6 empty] | G | Specific Detailing | G | Specific Detailing
| Rooms |  | A | Schedule List |  |  |  |  | B | Placed |  |  |  |  | B | Placed | [8 empty] | B | Placed | [8 empty] | C | Finishing Specifications | [8 empty] | C | Finishing Specifications | [8 empty] | C | Finishing Specifications
| Security Devices | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | C | Sizing | [8 empty] | C | Sizing
| Shaft Openings | [7 empty] | A | Generic |  |  |  |  | A | Generic | A | Generic | [6 empty] | B | Detailing | B | Detailing | [6 empty] | B | Detailing | B | Detailing | [6 empty] | B | Detailing | B | Detailing | [6 empty] | B | Detailing | B | Detailing
| Site | [7 empty] | A | Generic |  |  |  |  | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic
| Spaces | [15 empty] | A | Generic by Type | [10 empty] | B | Type Specification | B | Type Specification | B | Type Specification |  |  |  |  | C | Analysis | C | Analysis | C | Analysis |  |  |  |  | C | Analysis | C | Analysis | C | Analysis |  |  |  |  | C | Analysis | C | Analysis | C | Analysis
| Specialty Equipment | [27 empty] | A | Generic by Type | A | Generic by Type | [6 empty] | B | Type Specification | B | Type Specification | [6 empty] | B | Type Specification | B | Type Specification | [6 empty] | C | Size / Finishing / Detailing | B | Type Specification
| Sprinklers | [29 empty] | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | C | Sizing | [8 empty] | C | Sizing
| Stairs | [7 empty] | A | Generic by Type |  |  |  |  | B | Type Specification | B | Type Specification | [6 empty] | C | Sizing | C | Sizing | [6 empty] | D | RAC / RST Integration | D | RAC / RST Integration | [6 empty] | E | Generic Detailing | E | Generic Detailing | [6 empty] | G | Construction Detailing | G | Construction Detailing
| Structural Area Reinforcement | [45 empty] | A | Generic by Type | [8 empty] | C | Sizing
| Structural Beam Systems | [15 empty] | A | Generic by Type | [8 empty] | C | Sizing |  |  | B | Type Specification |  |  |  |  | D | RAC / RST Integration | [8 empty] | E | Generic Detailing | [8 empty] | G | Construction Detailing
| Structural Columns | [13 empty] | A | Generic by Type | A | Generic by Type | [8 empty] | C | Sizing |  |  | B | Type Specification |  |  |  |  | D | RAC / RST Integration | [8 empty] | E | Generic Detailing | [8 empty] | G | Construction Detailing
| Structural Connections | [15 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | B | Type Specification | [8 empty] | C | Sizing
| Structural Foundations | [13 empty] | A | Generic by Type | A | Generic by Type | [8 empty] | C | Sizing | [8 empty] | B | Type Specification | [8 empty] | C | Sizing | [8 empty] | G | Construction Detailing
| Structural Framing | [13 empty] | A | Generic by Type | A | Generic by Type | [8 empty] | C | Sizing | [8 empty] | B | Type Specification | [8 empty] | C | Sizing | [8 empty] | G | Construction Detailing
| Structural Internal Loads | [35 empty] | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | C | Sizing
| Structural Load Cases | [35 empty] | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | C | Sizing
| Structural Loads | [35 empty] | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | C | Sizing
| Structural Path Reinforcement | [35 empty] | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | C | Sizing
| Structural Rebar | [35 empty] | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | C | Generic Detailing
| Structural Stiffeners | [35 empty] | A | Generic by Type | [8 empty] | C | Sizing | [8 empty] | E | Generic Detailing
| Structural Trusses | [15 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | C | Size | [8 empty] | E | Generic Detailing
| Telephone Devices | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specification
| Topography | [13 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic | [8 empty] | A | Generic
| Walls |  | A | Generic / Face |  |  |  |  | B | Generic by Type |  |  |  |  | C | Type Specification | B | Generic by Type | [6 empty] | D | Sizing | D | Sizing | [6 empty] | E | RAC / RST Integration | E | RAC / RST Integration | [6 empty] | F | Generic Detailing | F | Generic Detailing | [6 empty] | G | Specific Detailing | G | Specific Detailing
| Windows | [7 empty] | A | Generic System |  |  |  |  | B | Type Identification | [8 empty] | C | Parameter Specifications | [8 empty] | D | Generic Detailing | [8 empty] | E | Specific Detailing | [8 empty] | E | Specific Detailing
| Wires | [21 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | A | Generic by Type | [8 empty] | B | Type Specification | [8 empty] | B | Type Specification
| פירוט | קוד
A | Generic System | A
B | Generic by Type | B
C | Type Specification | C
D | Sizing | D
E | Generic Detailing | E
F | Specific Detailing | F
E | Constrcution Detailing | G
F | Construction Detailing | H

## Wires
Code | Category | Specifications
A | Wires | Generic by Type
B | Wires | Type Specification
C | Wires | Size / Balanced

## Windows
Code | Category | Specifications
A | Windows | Generic System
B | Windows | Type Identification
C | Windows | Parameter Specifications
D | Windows | Generic Detailing
E | Windows | Specific Detailing
F | Windows | Construction Detailing

## Walls
Code | Category | Specifications
A | Architectural Wall | Generic / Face
B | Architectural Wall / Structural Wall | Generic by Type
C | Architectural Wall / Structural Wall | Type Specification
D | Architectural Wall / Structural Wall | Sizing
E | Architectural Wall / Structural Wall | RAC / RST Integration
F | Architectural Wall / Structural Wall | Generic Detailing
G | Architectural Wall / Structural Wall | Specific Detailing
H | Architectural Wall / Structural Wall | Construction Detailing

## Topography
Code | Category | Specifications
A | Topography | Generic

## Telephone Devices
Code | Category | Specifications
A | Telephone Devices | Generic by Type
B | Telephone Devices | Type Specification

## Structural Trusses
Code | Category | Specifications
A | Structural Trusses | Generic by Type
B | Structural Trusses | Type Specification
C | Structural Trusses | Size
D | Structural Trusses | RAC / RST Integration
E | Structural Trusses | Generic Detailing
F | Structural Trusses | Specific Detailing
G | Structural Trusses | Construction Detailing

## Structural Stiffeners
Code | Category | Specifications
A | Structural Stiffeners | Generic by Type
B | Structural Stiffeners | Type Specification
C | Structural Stiffeners | Sizing
D | Structural Stiffeners | RAC / RST Integration
E | Structural Stiffeners | Generic Detailing
F | Structural Stiffeners | Specific Detailing
G | Structural Stiffeners | Construction Detailing

## Structural Rebar
Code | Category | Specifications
A | Structural Rebar | Generic by Type
B | Structural Rebar | Type Specification
C | Structural Rebar | Sizing
C | Structural Rebar | Generic Detailing
| Structural Rebar | Specific Detailing
| Structural Rebar | Construction Detailing
Structural Rebar

## Structural Path Reinforcement
Code | Category | Specifications
A | Structural Path Reinforcement | Generic by Type
B | Structural Path Reinforcement | Type Specification
C | Structural Path Reinforcement | Sizing
D | Structural Path Reinforcement | Generic Detailing
E | Structural Path Reinforcement | Specific Detailing
F | Structural Path Reinforcement | Construction Detailing

## Structural Loads
Code | Category | Specifications
A | Structural Loads | Generic by Type
B | Structural Loads | Type Specification
C | Structural Loads | Sizing

## Structural Load Cases
Code | Category | Specifications
A | Structural Load Cases | Generic by Type
B | Structural Load Cases | Type Specification
C | Structural Load Cases | Sizing

## Structural Internal Loads
Code | Category | Specifications
A | Structural Internal Loads | Generic by Type
B | Structural Internal Loads | Type Specification
C | Structural Internal Loads | Sizing

## Structural Framing
Code | Category | Specifications
A | Structural Framing | Generic by Type
B | Structural Framing | Type Specification
C | Structural Framing | Sizing
D | Structural Framing | RAC / RST Integration
E | Structural Framing | Generic Detailing
F | Structural Framing | Specific Detailing
G | Structural Framing | Construction Detailing

## Structural Foundations
Code | Category | Specifications
A | Structural Foundations | Generic by Type
B | Structural Foundations | Type Specification
C | Structural Foundations | Sizing
D | Structural Foundations | RAC / RST Integration
E | Structural Foundations | Generic Detailing
F | Structural Foundations | Specific Detailing
G | Structural Foundations | Construction Detailing

## Structural Connections
Code | Category | Specifications
A | Structural Connections | Generic by Type
B | Structural Connections | Type Specification
C | Structural Connections | Sizing
D | Structural Connections | RAC / RST Integration
E | Structural Connections | Generic Detailing
F | Structural Connections | Specific Detailing
G | Structural Connections | Construction Detailing

## Structural Columns
Code | Category | Specifications
A | Structural Columns | Generic by Type
B | Structural Columns | Type Specification
C | Structural Columns | Sizing
D | Structural Columns | RAC / RST Integration
E | Structural Columns | Generic Detailing
F | Structural Columns | Specific Detailing
G | Structural Columns | Construction Detailing

## Structural Beam Systems
Code | Category | Specifications
A | Structural Beam Systems | Generic by Type
B | Structural Beam Systems | Type Specification
C | Structural Beam Systems | Sizing
D | Structural Beam Systems | RAC / RST Integration
E | Structural Beam Systems | Generic Detailing
F | Structural Beam Systems | Specific Detailing
G | Structural Beam Systems | Construction Detailing

## Structural Area Reinforcement
Code | Category | Specifications
A | Structural Area Reinforcement | Generic by Type
B | Structural Area Reinforcement | Type Specification
C | Structural Area Reinforcement | Sizing

## Stairs
Code | Category | Specifications
A | Stairs | Generic by Type
B | Stairs | Type Specification
C | Stairs | Sizing
D | Stairs | RAC / RST Integration
E | Stairs | Generic Detailing
F | Stairs | Specific Detailing
G | Stairs | Construction Detailing

## Sprinklers
Code | Category | Specifications
A | Sprinklers | Generic by Type
B | Sprinklers | Type Specification
C | Sprinklers | Sizing

## Speciality Equipment
Code | Category | Specifications
A | Speciality Equipment | Generic by Type
B | Speciality Equipment | Type Specification
C | Speciality Equipment | Size / Finishing / Detailing

## Spaces
Code | Category | Specifications
A | Spaces | Generic by Type
B | Spaces | Type Specification
C | Spaces | Analysis

## Site
Code | Category | Specifications
A | Site | Generic

## Shaft Openings
Code | Category | Specifications
A | Shaft Openings | Generic
B | Shaft Openings | Detailing

## Security Devices
Code | Category | Specifications
A | Security Devices | Generic by Type
B | Security Devices | Type Specification
C | Security Devices | Sizing

## Rooms
Code | Category | Specifications
A | Room | Schedule List
B | Room + Room Separation Lines | Placed
C | Room + Room Separation Lines | Finishing Specifications

## Roofs
Code | Category | Specifications
A | Roofs | Generic / Face
B | Roofs | Generic by Type
C | Roofs | Type Specification
D | Roofs | Sizing
E | Roofs | RAC / RST Integration
F | Roofs / Detail Component | Generic Detailing
G | Roofs / Detail Component | Specific Detailing
H | Roofs / Detail Component | Construction Detailing

## Ramps
Code | Category | Specifications
A | Ramps | Generic by Type
B | Ramps | Type Specification
C | Ramps | Sizing
D | Ramps | RAC / RST Integration
E | Ramps | Generic Detailing
F | Ramps | Specific Detailing
G | Ramps | Construction Detailing

## Railings
Code | Category | Specifications
A | Railings | Low Detail by Type
B | Railings | Type Specifications
C | Railings | Detailing

## Plumbing Fixtures
Code | Category | Specifications
A | Plumbing Fixtures | Generic by Type
B | Plumbing Fixtures | Type Specifications
C | Plumbing Fixtures | Size / Finishing / Detailing

## Planting
Code | Category | Specifications
A | Planting | Generic
B | Planting | Detailing

## Pipes
f | Category | Specifications
A | Pipes | Generic by Type
B | Pipes | Type Specifications
C | Pipes | Sizing

## Pipe Fittings
Code | Category | Specifications
A | Pipe Fittings | Generic by Type
B | Pipe Fittings | Type Specifications
C | Pipe Fittings | Sizing

## Pipe Accessories
Code | Category | Specifications
A | Pipe Accessories | Generic by Type
B | Pipe Accessories | Type Specifications
C | Pipe Accessories | Sizing

## Parking
Code | Category | Specifications
A | Parking | Generic
B | Parking | Detailing

## Nurse Call Devices
Code | Category | Specifications
A | Nurse Call Devices | Generic by Type
B | Nurse Call Devices | Type Specifications
C | Nurse Call Devices | Sizing

## Mechanical Equipment
Code | Category | Specifications
A | Mechanical Equipment | Generic by Type
B | Mechanical Equipment | Type Specifications
C | Mechanical Equipment | Sizing

## Mass
Code | Category | Specifications
A | Mass | Generic

## Lighting Fixtures
Code | Category | Specifications
A | Lighting Fixtures | Generic by Type
B | Lighting Fixtures | Type Specifications
C | Lighting Fixtures | Sizing

## Lighting Devices
Code | Category | Specifications
A | Lighting Devices | Generic by Type
B | Lighting Devices | Type Specifications
C | Lighting Devices | Sizing

## HVAC Zones
Code | Category | Specifications
A | HVAC Zones | Generic by Type
B | HVAC Zones | Type Specifications

## Generic Models
Code | Category | Specifications
A | Generic Models | Generic

## Furniture Systems
Code | Category | Specifications
A | Furniture Systems | Generic by Type
B | Furniture Systems | Type Specifications
C | Furniture Systems | Detailing

## Furniture
Code | Category | Specifications
A | Furniture | Generic by Type
B | Furniture | Type Specifications
C | Furniture | Detailing

## Floor
Code | Category | Specifications
A | Floor | Generic / Face
B | Floor | Generic by Type
C | Floor | Type Specification
D | Floor | Sizing
E | Floor | RAC / RST Integration
F | Floor / Detail Component | Generic Detailing
G | Floor / Detail Component | Specific Detailing
H | Floor / Detail Component | Construction Detailing

## Flex Pipes
Code | Category | Specifications
A | Flex Pipes | Generic by Type
B | Flex Pipes | Type Specifications
C | Flex Pipes | Sizing

## Flex Ducts
Code | Category | Specifications
A | Flex Ducts | Generic by Type
B | Flex Ducts | Type Specifications
C | Flex Ducts | Sizing

## Fire Alarm Devices
Code | Category | Specifications
A | Fire Alarm Devices | Generic by Type
B | Fire Alarm Devices | Type Specifications
C | Fire Alarm Devices | Sizing

## Entourage
Code | Category | Specifications
A | Entourage | Generic
B | Entourage | Specific

## Electrical Fixtures
Code | Category | Specifications
A | Electrical Fixtures | Generic by Type
B | Electrical Fixtures | Type Specifications
C | Electrical Fixtures | Sizing

## Electrical Equipment
Code | Category | Specifications
A | Electrical Equipment | Generic by Type
B | Electrical Equipment | Type Specifications
C | Electrical Equipment | Sizing

## Duct
Code | Category | Specifications
A | Duct | Generic by Type
B | Duct | Type Specifications
C | Duct | Sizing

## Duct Fittings
Code | Category | Specifications
A | Duct Fittings | Generic by Type
B | Duct Fittings | Type Specifications
C | Duct Fittings | Sizing

## Duct Accessories
Code | Category | Specifications
A | Duct Accessories | Generic by Type
B | Duct Accessories | Type Specifications
C | Duct Accessories | Sizing

## Data Devices
Code | Category | Specifications
A | Data Devices | Generic by Type
B | Data Devices | Type Specifications
C | Data Devices | Sizing

## Curtain Wall Mullions
Code | Category | Specifications
A | Curtain Wall Mullions | Generic System
B | Curtain Wall Mullions | Type Specifications
C | Curtain Wall Mullions | Detailing

## Conduits
Code | Category | Specifications
A | Conduits | Generic by Type
B | Conduits | Type Specifications
C | Conduits | Sizing

## Conduit Fittings
Code | Category | Specifications
A | Conduit Fittings | Generic by Type
B | Conduit Fittings | Type Specifications
C | Conduit Fittings | Sizing

## Communication Devices
Code | Category | Specifications
A | Communication Devices | Generic by Type
B | Communication Devices | Type Specifications
C | Communication Devices | Sizing

## CaseWork
Code | Category | Specifications
A | Caseworks | Generic by Type
B | Caseworks | Type Specification
C | Caseworks | Detailing

## Ceiling
Code | Category | Specifications
A | Basic Ceiling | Generic by Type / Height
B | Compound Ceiling | Generic by Type / Room / Multi Room / Specifications
C | Compound Ceiling | Structure Definition by Room and Specific Modeling
D | Compound Ceiling | MEP Coordination
E | Compound Ceiling | Generic Detailing
F | Compound Ceiling | Specific Detailing

## Column
Code | Category | Specifications
A | Architectural Column | Generic by Type
B | Architectural Column | Type Specification
C | Architectural Column | RAC / RST Integration
D | Architectural Column / Detail Component | Generic Detailing
E | Architectural Column / Detail Component | Specific Detailing

## Door
Code | Category | Specifications
A | Door | Generic System
B | Door | Type Identification
C | Door | Parameter Specifications
D | Door | Generic Detailing
E | Door | Specific Detailing
F | Door | Construction Detailing

## Area
Code | Category | Specifications
A | Area | Gross-Rentable Plan
B | Area | Fire Protection Plan
C | Area | Other Surface Calculation

## Curtain Panels
Code | Category | Specifications
A | Curtain Panel | Default System Panel

## Curtain Systems
Code | Category | Specifications
A | Curtain System | Grid Definition

## Cable Trays
Code | Category | Specifications
A | Cable Tray | Generic by Type
B | Cable Tray | Type Specification
C | Cable Tray | Sizing

## Cable Tray Fittings
Code | Category | Specifications
A | Cable Tray Fittings | Generic by Type
B | Cable Tray Fittings | Type Specification
C | Cable Tray Fittings | Sizing

## Air Terminals
Code | Category | Specifications
A | Air Terminals | Generic by Type
B | Air Terminals | Type Specifications
C | Air Terminals | Sizing

## Grids
Code | Category | Specifications
A | Grids | Principal Grids
B | Grids | Secondary Grids

## Levels
Code | Category | Specifications
A | Levels | Schematic Level
B | Levels | Concrete Levels
C | Levels | Ceiling Levels

## Origin
Code | Category | Specifications
A | Project Base Point / Survey Point | Default position
B | Project Base Point / Survey Point | Project Base Point / Survey Point